## BOND ESTIMATE 2021 (LATEST)
PROJECT: |  | ENGINEER: |  |  |  | RCE NO:
FY 2025-2026
Doc. No. xx-xx.xls | [5 empty] | 2025/2026 Unit Bond Prices/LA ENR: 15,977
ITEM DESCRIPTION |  | UNIT | QUANITY | UNIT PRICE |  | AMOUNT
The following estimate shall be used in preparing Engineer's Estimates of Cost for determining bonds and fees
in the City of Escondido. The Summary sheet at the end will automatically calculate all bond and fee amounts
as quantities are entered. Revisions to the estimate are the responsibility of the Engineer. Unit prices
shall be those shown hereon, unless an item is not listed. If you have any questions, please call this office
at (760) 839-4651 |  | Leia Cabrera, Engineering Manager
GRADING AND PRIVATE IMPROVEMENTS |  | (fill out this section only when submitting grading plans)
Enter Number of sheets of Grading Plans |  | shts | 0 | "Per sheet only" estimate |  | 0
Enter maximum cut or fill quantity |  | cy | 0
Enter any plan check fee paid on 1st plan check |  | dlrs. | 0 | (for revised estimates, recheck only)
Slope Landscaping and Irrigation |  | sf |  | 5.25 |  | 0
Flat Yard Landscaping and Irrigation |  | sf |  | 3.95 |  | 0
Landscaping and Irrig. (Landscape.Arch.Estimate) |  | ls |  | 0 |  | 0
Siltation Fence (SE-1) |  | lf |  | 4.3 |  | 0
Desilting Basin ( SE-2) |  | ea |  | 17475 |  | 0
Check Dams (SE-4) |  | ea |  | 1315 |  | 0
Sediment Trap (SE-3) |  | ea |  | 4370 |  | 0
Hydroseeding (EC-4) |  | sf |  | 0.6 |  | 0
Geotextiles, Plastic, Erosion Control Mats (EC-7) |  | sf |  | 0.7 |  | 0
Sand and Gravel Bags (SE-6 & SE-8) |  | ea |  | 8.7 |  | 0
Fiber Rolls (SE-5) |  | lf |  | 12.2 |  | 0
Straw Bales (SE-9) |  | ea |  | 22.7 |  | 0
Storm Drain Inlet Protection ( SE-10) |  | ea |  | 350 |  | 0
Stabilized Construction Entrance ( TC-1) |  | sf |  | 2.2 |  | 0
K-rail Erosion Barrier |  | lf |  | 30.5 |  | 0
4" Private PVC Storm Drain (rigid) |  | lf |  | 21.85 |  | 0
6" Private PVC Storm Drain |  | lf |  | 31.4 |  | 0
8" Private PVC Storm Drain |  | lf |  | 43.7 |  | 0
12" Private Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 65 |  | 0
15" Private Alternate Pipe Culvert: D-60, G-1-E |  | lf |  | 84 |  | 0
18" Private Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 122 |  | 0
24" Private Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 154 |  | 0
Private Inlet - 6" Atrium Grate |  | ea |  | 105 |  | 0
Private Inlet - 12" x 12" Grate |  | ea |  | 315 |  | 0
Private Inlet - 18" x 18" Grate |  | ea |  | 620 |  | 0
Private Inlet - 24" x 24" Grate |  | ea |  | 1050 |  | 0
3' wide by 5 1/2" thick PCC Gutter (private) |  | lf |  | 36.8 |  | 0
6" Type "G" Curb and Gutter: G-2 (private) |  | lf |  | 31.5 |  | 0
Type "A,B or C" Inlet, L=5'; D-1,2 & 3 (private) |  | ea |  | 6920 |  | 0
Type "A,B or C" Inlet, L=10'; D-1,2 & 3 (private) |  | ea |  | 7680 |  | 0
Type "F" Catch Basin; D-7 (private) |  | ea |  | 5415 |  | 0
Type "G" Catch Basin; D-8 (private) |  | ea |  | 6115 |  | 0
Type "A" Cleanout; D-9 |  | ea |  | 6115 |  | 0
Curb Outlet - Type "A"; D-25 |  | ea |  | 3145 |  | 0
Straight Headwall - Type "A"; D-30 (private) |  | ea |  | 4625 |  | 0
Bio Retention (TC-32) |  | sf |  | 7.9 |  | 0
Wing & Type "U" Hdwl; D-34 (18"-36", private) |  | ea |  | 5765 |  | 0
Pipe collar; D-62 (private) |  | ea |  | 1155 |  | 0
Concrete Lug; D-63 (private) |  | ea |  | 1665 |  | 0
Concrete Brow Ditch; D-75 |  | lf |  | 34.7 |  | 0
Masonry Retaining Wall; C-1 to C-8 |  | sf |  | 57 |  | 0
Private Masonry Screen Wall (6' high) |  | lf |  | 217 |  | 0
Rip-Rap (1/4 ton) (EC-10) |  | cy |  | 157 |  | 0
(add item) |  |  |  | 0 |  | 0
Clearing and Grubbing and Site Maintenance (15% of earthwork, automatically calculates) | [5 empty] | 0
1-1000 cy (automatically calculates) |  |  | 0 | 26.75 |  | 0
1001-10,000 cy ( " " ) |  |  | 0 | 20 |  | 0
10,001-50,000 cy ( " " ) |  |  | 0 | 13.75 |  | 0
50,001-100,000 cy ( " " ) |  |  | 0 | 7.7 |  | 0
100,001 cy and above ( " " ) |  |  | 0 | 6.2 |  | 0
Grading and Private Improvements Total (plus 15% contingencies) | [5 empty] | 0
PUBLIC IMPROVEMENTS - STREET ITEMS | (fill out this section only when submitting improvement plans)
Enter Number of sheets of Improvement Plans |  | shts. | 0 | "Per sheet only" estimate |  | 0
Enter any plan check fee paid on 1st plan check |  | dlrs. | 0
Asphalt Concrete Paving |  | ton |  | 145 |  | 0
1 1/2" AC Overlay |  | sf |  | 1.2 |  | 0
2" AC Overlay |  | sf |  | 1.45 |  | 0
3" AC over 6" AB Transitional Paving |  | sf |  | 3.6 |  | 0
3" AC paving over approved AB (8" assumed) |  | sf |  | 4 |  | 0
4" AC paving over approved AB (13" assumed) |  | sf |  | 6 |  | 0
5" AC paving over approved AB (15" assumed) |  | sf |  | 7.3 |  | 0
Asphalt Seal Coat |  | sf |  | 0.5 |  | 0
Chipseal |  | sf |  | 0.9 |  | 0
Asphalt Grinding |  | sf |  | 1.3 |  | 0
Sawcut AC Paving |  | lf |  | 3.1 |  | 0
Class 2 Aggregate Base |  | cy |  | 79 |  | 0
Pavement Reinforcing Fabric |  | sf |  | 0.75 |  | 0
Geotextile Fabric |  | sf |  | 0.75 |  | 0
2"x6" Redwood Header |  | lf |  | 13.15 |  | 0
Remove Existing Redwood Header |  | lf |  | 2.2 |  | 0
Remove Existing Paving |  | sf |  | 2.4 |  | 0
Roadway Excavation |  | cy |  | 42 |  | 0
Roadway Fill |  | cy |  | 39 |  | 0
6" Curb; G-1 |  | lf |  | 28 |  | 0
8" Curb; G-1 |  | lf |  | 30 |  | 0
6" Type "G" Curb and Gutter: G-2 |  | lf |  | 31.5 |  | 0
8" Type "G" Curb and Gutter: G-2 |  | lf |  | 33.25 |  | 0
Remove Existing Curb and Gutter |  | lf |  | 11.1 |  | 0
Rolled Curb; G-4 |  | lf |  | 36.8 |  | 0
6" AC Dike, Type "A"; G-5 |  | lf |  | 15.3 |  | 0
8" AC Dike, Type "A"; G-5 |  | lf |  | 15.7 |  | 0
Remove Existing AC Dike |  | lf |  | 2.35 |  | 0
3 1/2" PCC Sidewalk; G-7 |  | sf |  | 8.55 |  | 0
Remove Existing Sidewalk |  | sf |  | 4 |  | 0
5 1/2 " PCC Driveway; G-14 - A&B |  | sf |  | 11.25 |  | 0
Remove Existing PCC Driveway |  | sf |  | 6 |  | 0
7" PCC on 8" AB, G-5-E, G-12,13, & 18-21 |  | sf |  | 15 |  | 0
Sidewalk Ramp; G-27 to G-32 |  | ea |  | 2000 |  | 0
Cutoff Wall; G-22 & G-23 |  | ea |  | 720 |  | 0
4' wide x 5 1/2" thick PCC gtr. on 6" AB |  | lf |  | 56 |  | 0
Street Light (< 12600 Lumens); E-1-E |  | ea |  | 7825 |  | 0
Street Light (> 12600 Lumens); E-1-E |  | ea |  | 8020 |  | 0
Relocate Existing Street Light |  | ea |  | 3500 |  | 0
Relocate Existing Power Pole |  | ea |  | 27240 |  | 0
Undergrounding Overhead Utilities |  | lf |  | 700 |  | 0
Parkway Trees, 15 gallon; L-1-E & L-2-E |  | ea |  | 185 |  | 0
Street Tree - 24" Box |  | ea |  | 670 |  | 0
Remove Existing Tree |  | ea |  | 1020 |  | 0
Median Landscaping and Irrigation |  | sf |  | 7 |  | 0
Decorative Paving - Hardscape |  | sf |  | 13.6 |  | 0
6' high Chain Link Fence; M-6 |  | lf |  | 32.8 |  | 0
Remove Existing Chain Link Fence |  | lf |  | 10.2 |  | 0
Guard Post; M-9 |  | ea |  | 435 |  | 0
Remove Existing Guard Post |  | ea |  | 53.5 |  | 0
Barricade; M-9 |  | lf |  | 53.5 |  | 0
Metal Beam Guard Rail; {M-32 to M-41} |  | lf |  | 110 |  | 0
Remove Existing Guard Rail |  | lf |  | 22.2 |  | 0
Concrete Barrier Type 50; {M-42} |  | lf |  | 122 |  | 0
Temporary Concrete Barrier Type K; {M-44} |  | lf |  | 33.65 |  | 0
Masonry Retaining Wall; C-1 to C-8 |  | sf |  | 57 |  | 0
|  | Streets - Sub Total |  |  |  | 0
TRAFFIC SIGNAL, SIGNING AND STRIPING
New Traffic Signal (Engineer's Estimate) |  | ls |  | 0 |  | 0
Traffic Signal Modification (Engineer's Estimate) |  | ls |  | 0 |  | 0
Install Video Monitor Detection, Ex. T.S. (Intersect) |  | ea |  | 20050 |  | 0
Install Inductive Traffic Detector Loops |  | ea |  | 880 |  | 0
Street Name Sign - 9" high |  | ea |  | 490 |  | 0
Street Name Sign - 6" high |  | ea |  | 367 |  | 0
Traffic Sign - no pole |  | ea |  | 125 |  | 0
Traffic Sign - with pole |  | ea |  | 305 |  | 0
Relocate Existing Street Sign |  | ea |  | 245 |  | 0
Thermoplastic Legends |  | ea |  | 100 |  | 0
Thermoplastic Limit Lines |  | lf |  | 8.35 |  | 0
Pavement Striping with RPM |  | lf |  | 5 |  | 0
Remove Pavement Striping and Markers |  | lf |  | 3.1 |  | 0
|  | Traffic - Sub Total |  |  |  | 0
STORM DRAIN
18" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 122 |  | 0
24" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 154 |  | 0
30" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 195 |  | 0
36" Alternate Pipe Culvert; D,60, G-1-E |  | lf |  | 236 |  | 0
42" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 257 |  | 0
48" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 285 |  | 0
60" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 317 |  | 0
72" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 415 |  | 0
84" Alternate Pipe Culvert; D-60, G-1-E |  | lf |  | 590 |  | 0
Type "A,B or C" Inlet, L=5'; D-1,2 & 3 |  | ea |  | 6920 |  | 0
Type "A,B or C" Inlet, L=10'; D-1,2 & 3 |  | ea |  | 7680 |  | 0
Type "A,B or C" Inlet, L=14'; D-1,2 & 3 |  | ea |  | 9090 |  | 0
Type "A,B or C" Inlet, L=21'; D-1,2 & 3 |  | ea |  | 11365 |  | 0
Type "A,B or C" Inlet, L=28'; D-1,2 & 3 |  | ea |  | 14000 |  | 0
Remove Existing Curb Inlet |  | ea |  | 3400 |  | 0
Remove existing storm drain |  | lf |  | 67 |  | 0
Type "F" Catch Basin; D-7 |  | ea |  | 5415 |  | 0
Type "G" Catch Basin; D-8 |  | ea |  | 6115 |  | 0
Type "A" Cleanout; D-9 |  | ea |  | 6115 |  | 0
Type "B" Cleanout; D-10 |  | ea |  | 6900 |  | 0
Adjust Storm Drain Cleanout to Grade |  | ea |  | 1085 |  | 0
CSP Inlet; D-16 & D-17 |  | ea |  | 4720 |  | 0
AC Spillway; D-22 |  | lf |  | 33.25 |  | 0
Curb Outlet - Type "A"; D-25 |  | ea |  | 3145 |  | 0
Sidewalk Underdrain; D-27 |  | ea |  | 660 |  | 0
Straight Headwall - Type "A"; D-30 |  | ea |  | 4625 |  | 0
Straight Headwall - Type "B"; D-32 |  | ea |  | 3840 |  | 0
Wing & Type "U" Hdwl; D-34 (18"-36") |  | ea |  | 5765 |  | 0
Wing & Type "U" Hdwl; D-35 (42"-84") |  | ea |  | 7965 |  | 0
"L" Type Headwall; D-36 |  | ea |  | 4590 |  | 0
Curtain Wall; D-38 |  | ea |  | 920 |  | 0
Rip Rap; D-40 (1/4 ton) |  | cy |  | 157 |  | 0
Gabion Mattress |  | ea |  | 395 |  | 0
Pipe Collar; D-62 (smaller than 42") |  | ea |  | 1155 |  | 0
Pipe Collar; D-62 (42" pipe or larger) |  | ea |  | 1545 |  | 0
Concrete Lug; D-63 |  | ea |  | 1665 |  | 0
Reinf. PCC Channel: D-70 & D-71 |  | sf |  | 15 |  | 0
Channel Connection; D-73 |  | ea |  | 5765 |  | 0
Filter Fabric |  | sf |  | 0.85 |  | 0
Selected Rock Slope Protection; D-74 |  | cy |  | 185 |  | 0
Concrete Brow Ditch; D-75 |  | lf |  | 44 |  | 0
Box Culvert; D-76 to D-78 |  | cy |  | 1155 |  | 0
Minor Concrete (Minor Structures) |  | cy |  | 2275 |  | 0
|  | Storm Drain - Sub Total |  |  |  | 0
SEWER | [6 empty] | 123
Sewer Manhole; S-1-E |  | ea |  | 7200 |  | 0
Drop Sewer Manhole; S-3-E |  | ea |  | 8550 |  | 0
Adjust Manhole Rim to Grade |  | ea |  | 1210 |  | 0
8" Stub and Plug |  | ea |  | 335 |  | 0
4" or 6" Sewer Lateral (30 feet long); S-2-E |  | ea |  | 4000 |  | 0
Sewer Cleanout; SC-01 |  | ea |  | 2275 |  | 0
8" PVC Sewer Main; SP-02, G-1-E |  | lf |  | 100 |  | 0
10" PVC Sewer Main SP-02, G-1-E |  | lf |  | 115 |  | 0
12" PVC Sewer Main; SP-02, G-1-E |  | lf |  | 127 |  | 0
15" PVC Sewer Main; SP-02, G-1-E |  | lf |  | 175 |  | 0
18" PVC Sewer Main; SP-02, G-1-E |  | lf |  | 215 |  | 0
Sewer Encasement; SP-03 |  | lf |  | 53.5 |  | 0
Concrete Anchor; SP-07 |  | ea |  | 1550 |  | 0
Concrete Protective Slab; SP-03 |  | lf |  | 30.1 |  | 0
|  | Sewer - Sub Total |  |  |  | 0
WATER
1" Water Service; W-1-E |  | ea |  | 3050 |  | 0
2" Water Service; W-2-E |  | ea |  | 3280 |  | 0
Relocate Water Meter; W-1-E & W-2-E |  | ea |  | 1200 |  | 0
Adjust Water Meter Box to Grade |  | ea |  | 310 |  | 0
Fire Hydrant Assembly; W-3-E, WF-04 |  | ea |  | 7855 |  | 0
Relocate Fire Hydrant; W-3-E |  | ea |  | 4000 |  | 0
8" Gate Valve; W-4-E |  | ea |  | 2360 |  | 0
12" Gate Valve; W-4-E |  | ea |  | 3200 |  | 0
14" Butterfly Valve |  | ea |  | 4350 |  | 0
16" Butterfly Valve |  | ea |  | 6650 |  | 0
18" Butterfly Valve |  | ea |  | 7680 |  | 0
24" Butterfly Valve |  | ea |  | 13860 |  | 0
30" Butterfly Valve |  | ea |  | 17475 |  | 0
36" Butterfly Valve |  | ea |  | 28000 |  | 0
Adjust Gate Valve to Grade, W-4-E |  | ea |  | 610 |  | 0
1" Combination Air Valve; W-5-E |  | ea |  | 3325 |  | 0
2" Combination Air Valve; W-5-E |  | ea |  | 5240 |  | 0
4" Combination Air Valve; W-6-E |  | ea |  | 8685 |  | 0
Relocate Combination Air Valve |  | ea |  | 2300 |  | 0
4" Detector Check Assembly; W-7-E |  | ea |  | 11520 |  | 0
6" Detector Check Assembly; W-7-E |  | ea |  | 16250 |  | 0
8" Detector Check Assembly; W-7-E |  | ea |  | 21000 |  | 0
4" Meter Assembly & Backflow Preventer; W-8-E |  | ea |  | 12750 |  | 0
4" Blowoff Assembly; W-9-E |  | ea |  | 5900 |  | 0
6" Blowoff Assembly; WB-03 |  | ea |  | 6800 |  | 0
Relocate Blowoff Assembly |  | ea |  | 1500 |  | 0
2" Backflow Preventer; W-10-E |  | ea |  | 2500 |  | 0
Tap Existing Main; W-12-E |  | ea |  | 2200 |  | 0
Protection Post; WM-04 |  | ea |  | 350 |  | 0
Concrete Thrust Block; WT-01 |  | ea |  | 730 |  | 0
Concrete Anchor Block; WT-01 |  | ea |  | 850 |  | 0
8" PVC Water Main; WP-02, G-4-E |  | lf |  | 110 |  | 0
12" PVC Water Main; WP-02, G-4-E |  | lf |  | 145 |  | 0
8" CML-WSP Water Main; WP-02, G-1-E |  | lf |  | 315 |  | 0
12" CML-WSP Water Main; WP-02, G-1-E |  | lf |  | 350 |  | 0
14" CML-WSP Water Main; WP-02, G-1-E |  | lf |  | 385 |  | 0
16" CML-WSP Water Main; WP-02, G-1-E |  | lf |  | 390 |  | 0
18" CML-WSP Water Main; WP-02, G-1-E |  | lf |  | 400 |  | 0
24" CML-WSP Water Main; WP-02, G-1-E |  | lf |  | 455 |  | 0
30" CML-WSP Water Main; W9-02, G-1-E |  | lf |  | 510 |  | 0
36" CML-WSP Water Main; WP-02, G-1-E |  | lf |  | 560 |  | 0
8" Steel Water Main Conflict - Crossing; W-15-E |  | ea |  | 24475 |  | 0
12" Steel Water Main Conflict - Crossing; W-15-E |  | ea |  | 28000 |  | 0
|  | Water - Sub Total |  |  |  | 0
Public Improvements Total (plus 15% contingencies) | [5 empty] | 0
MONUMENTATION | *Fill out this section only when submitting final or parcel maps
Enter Number of sheets of Parcel Maps |  | shts.
Enter Number of lots/units in Parcel Map |  | lots
Enter Number of sheets of Subdivision Maps |  | shts.
Enter Number of lots/units in Subdivision |  | lots
Set Final Subdivision Lot corners (auto. calculates) |  | lot | 0 | 715 |  | 0
Set Well Monument with tangent ties; M-4-E |  | ea |  | 840 |  | 0
Adjust Well Monument to Grade |  | ea |  | 550 |  | 0
Prepare Record of Survey Map & monumentation |  | ea |  | 6335 |  | 0
Monumentation Total (plus 15% contingencies) | [5 empty] | 0
*** Besides the SWQMP, CC&R'S, and Street light connection fee drop-down menu under column F, do not enter any data beyond this point***
SUMMARY OF BONDS AND FEES
GRADING FEES
Planning Dept. Review Fee | * | "Percentage only" |  | 0 |  | 0 | *
Plan Check and Inspection, Initial Payment | * | "Percentage only" |  | 2500 |  | 0 | *
SWQMP Review Fee | * | Subdivision |  | N/A |  | 0 | *
Fire Dept. Review Fee | * |  |  |  |  | 0 | *
CC&R's Review Fee | * | CC&R's required? |  | No | 1 | 0 | *
Plan Check and Inspection, Fee Balance |  | "greatest fee" |  | 0 |  | 0
|  | "greatest fee" |  | 2500
|  |  |  | Sub-Total Grading Fees |  | 0
PUBLIC IMPROVEMENT FEES
Plan Check and Inspection, Initial Payment | * | "Percentage only" |  | 0 |  | 0 | *
Plan Check and Inspection, Fee Balance |  | "Percentage only" |  | 2500 |  | 0
|  | "greatest fee" |  | 0
|  |  |  | 2500 |  |  |  | REMOVE/DELETE THIS ROW. ENG. ONLY COLLECTS STREET LIGHT ENERGY FEE PER LIGHT
Street Light Energy Fee |  |  |  | 0 |  | 0
|  |  |  | Sub-Total Improvement Fees |  | 0
MAP FEES
Parcel Map - Planning Review Fee | * |  |  |  |  | 0 | *
Parcel Map - Engineering Review Fee | * |  |  |  |  | 0 | *
Subdivision Map - Planning Review Fee | * |  |  |  |  | 0 | *
Subdivision Map - Engineering Review Fee | * |  |  |  |  | 0 | *
|  |  |  | Sub-Total Map Fees |  | 0
|  |  |  | Total Fees |  | 0
|  |  |  | Total Submittal Fees |  | 0 | *
Total Imaging Fees
Bonds: (forms available at engineering dept.)
|  |  |  | Grading Cash Cleanup Bond |  | 0
|  |  |  | Grading Surety Bond (Subdivisions) |  | 0
|  |  |  | Faithful Performance Bond |  | 0
City of Escondido Engineering Services |  |  |  | Labor and Materials Bond |  | 0
201 North Broadway, Escondido, CA 92025 |  |  |  | Guarantee & Warranty Bond |  | 0
2025/2026 Unit Bond Prices |  |  |  | Monumentation Bond |  | 0
* Fees needed for initial plan submittal